Guide to Data

Spreadsheet 1: PALL Artifact Data.

- Artifact Information

  - Thickness at Sampling Point (cm): Artifacts may have varying thickness based on where they are measured. This column reports the thickness of the artifact in the location where the sample was taken, prior to sampling.

- Lab Data

  - Sample Mass: The mass of sample taken and collected; measured with a laboratory balance with significance to the hundredth place.

  - Final Volume (mL): This is the final volume of the extracted residues, redissolved in methanol/water solution and filtered into HPLC-MS vials. These vials have graduations at 0.5, 1.0, and 1.5 mL and can hold up to 2 mL.

- Raw Computer Data

  - BPC: Base Peak Chromatogram.

  - EIC: Extracted Ion Chromatogram.

  - RT: Retention Time.

  - All numerical data and spectra were collected using Agilent MassHunter software.

  - If the MassHunter software did not identify any molecules that fit within the expected RT’s for carminic acid or dcII, then no integration peak lists are reported. If it did, then the full output of top peaks is reported, for both m/z = 491 and 475 amu, and for both active and inactive surfaces of that artifact.

- Anthraquinones only

  - Data from “Raw Computer Data” that pertains to the molecules carminic acid and dcII.

  - I.A.: Integrated Area.

  - Due to variation between software programs in S/N calculations and a desire for reproducibility, noise was measured manually. A standard method of manually approximating noise, or the standard deviation of the baseline, is to measure the peak-to-peak value of baseline noise over one minute (Wells et al. 2023). To lower error associated with this method, peak-to-peak values were measured at three separate points, then averaged.

    - N1, N2, N3: First, second, and third peak-to-peak measurement.

    - Time N1, Time N2, Time N3: One minute range over which N1, N2, and N3 were measured.

    - Noise: Average of N1, N2, and N3.

  - S/N: Signal (Peak Height)/Noise.

    - If S/N > 3.3, then it is above the LOD (limit of detection.)

    - If S/N > 10, then it is above the LOQ (limit of quantification).

Spreadsheet 2: PACT Artifact Data.

- Artifact Information

  - Thickness at Sampling Point (cm): Same as in Spreadsheet 1. Ranges are provided in those instances in which the samples from the two surfaces were not immediately opposite one another but were taken from locations with different initial thicknesses.

  - Dating information for the artifacts excavated in 2017 comes from the field and analysis report produced by Overholtzer (2019), currently on file at the National Institute of Anthropology and History in Mexico City. All radiocarbon dates in that report are calibrated.

- Lab Data: Same as Spreadsheet 1, except for the following:

  - Sample Mass: All samples were measured with the laboratory balance (significance to hundredth place), except for the pigments, which were measured with an analytical balance (significance to ten thousandth place) due to their smaller size.

  - Final Volume (mL): Because these vials have graduations at 0.5, 1.0, and 1.5 mL, values reported between these volumes have associated uncertainty. Values reported as “0.8” are certain to be between 0.5 and 1.0 mL, but there is no certainty in saying that they are 0.8 mL, versus 0.7 mL.

  - Following the lack of any detectable carminic acid in the PALL samples and the PACT pigments, it was suspected that the injection volume needed to be increased, as was done on 12/1/2023. Unfortunately, in the run that began on 12/4/2023, there was an error that switched samples to a closely related MS-MS method that did not have the higher injection volume, beginning on 12/5/2023. The new data confirmed that the larger injection volume was necessary, and all subsequent samples were run with the higher injection volume.

- Raw Computer Data: Same as in Spreadsheet 1, except for the following:

  - The image of EIC’s of m/z 475 for sample CT3I was generated using Peaksel due to a computer error for that file.

  - The image of the EIC of m/z 491 for sample CT24A was generated using Peaksel due to a computer error for that file that preserved only a smoothed spectrum in Agilent Mass Hunter.

  - The image of EIC’s and the BPC for sample CT8A include the text “Scan CTAI.d” rather than “Scan CT8A.d” due to a typing error when completing the instrument worklist.

  - In the case of CT1, the full output of top peaks is reported for both injection volumes.

- Anthraquinones Only: Same as in Spreadsheet 1, except for the following:

  - Data from “Raw Computer Data” that pertains to the molecules carminic acid, dcII, dcIV, and dcVII.

  - In the case of CT24A, noise was calculated from the normal Peaksel spectrum, as smoothing artificially lowers background noise.

- FTIR Data

Spreadsheet 3: PAT Artifact Data.

- Artifact Information

  - “65x 43y*”: This is the quadrant data written on the artifact bag tags. Both artifacts with this information, PT15 and PT20, are associated with Lot 35 in Structure 1, which according to the excavation report written by Fargher (2016) is within 65x 53y, not 65x 43y.

  - Thickness at Sampling Point (cm): Same as in Spreadsheet 2.

- Lab Data

  - Some sample masses, measured at LANCIC-IQ with analytical balances with significance to the ten thousandth place, are lower than the intended 1-2 grams. This is likely because, unlike for the other assemblages, samples were taken from the PAT artifacts in a makeshift laboratory space at UNAM SUAyED Tlaxcala. The scale used in this makeshift laboratory was placed on a table rather than a laboratory counter, which was less steady and therefore could have prevented the scale from providing accurate results.

- Raw Computer Data: Same as in Spreadsheet 1.

- Anthraquinones Only: Same as in Spreadsheet 1.

Fargher, Lane F. 2016. Proyecto Arqueológico de Tlaxcallan: Hogares, Terrazas y Gobernanza En Una Ciudad Del Posclásico Tardío Informe de Temporada 2015. Technical Reporto on file at the Instituto Nacional de Antropología y Historia, Mexico City.

Overholtzer, Lisa. 2019. Proyecto de Arqueología Cotidiana de Tepeticpac (PACT): Informe de La Primera Temporada de Campo 2017 y Análisis de Materiales de 2018. Technical Reporto on file at the Instituto Nacional de Antropología y Historia, Mexico City.

Wells, G., Harry Prest, and Charles William Rust IV. 2023. Signal, Noise, and Detection Limits in Mass Spectrometry. Technical Overviews: Chemical Analysis. Publication Part Number: 5990-7651 EN. Agilent Technologies, Inc. https://www.agilent.com/cs/library/technicaloverviews/public/5990-7651EN.pdf