## Summary
The Energy Conservation Measures sheet lists out specific individual and packaged (or grouped) measures. A technical description, modeling approach, cost, evaluation of benefits and challenges, and references are included. The City-wide technical potential of each measure under different scenarios of delivered electricity carbon intensities (see below)is also listed in absolute and relative terms. Note that some measures are mutually exclusive (e.g., Deep Energy Retrofits and Weatherization), while others could be combined (e.g., Deep Energy Retrofits and Passive House) since they apply to different building classes
The Illustrative Policy Mechanisms sheet reflects the potential of policy-driven adoption scenarios (described in the technical report) for each energy conservation measure. The adoption assumptions incorporate differing timelines of regulation (e.g. commercial vs residential), adoption rates under various policy mechanisms (requirement vs. incentive). 2050 GHG impact under delivered Information on jurisdiction, equity implications, and timeline considerations are also noted here.
Carbon Intensities
3 Grid scenarios (below) are used to illustrate the potential impact of each strategy due to the changing carbon intensity of electricity supplied to Boston. Note that the Current Grid scenario is unlikely to be reflective of long term trends and is used here for illustrative purposes
Grid Scenario | Basis | kg CO2e / MWh
Current Grid | 2017 Carbon Intensity | 327
80 % Renewable Grid | MA CES 2050 | 76
100% Clean Energy Grid | 100% Clean Electricity Procurement | 0
Note that the Current Grid scenario is unlikely to be reflective of long term trends and is used here for illustrative purposes
Costs
Most values are derived from NYC's Once City Built To Last Technical Working Group Report. Costs listed in this study are assumed to be incremental in that the represent the marginal cost of a energy efficiency measure implemented at construction, or end of life. For example, a cost value in this study would represent the difference between high insulating material and low insulating material applied at construction. Further an incremental cost would also represent the cost of purchasing a high efficiency furnace or heat pump at the end of life of the previous furnace. Such a costing framework is applicable to the policy regime discussed in the report in which emissions reduction measures are applied at a natural intervention point such as a major renovation. More information on incremental costs can be found here: http://www.calmac.org/publications/HMG_IMC_White_Paper_v3_Final.pdf

## Energy Conservation Measures
|  | Applicable Age Class |  | Applicable Building Classes | [14 empty] | Annual GHG Impact - Technical Potential (kt CO2e) |  |  | Annual GHG Impact - Technical Potential (% Change from Baseline)
Number | Strategy | New | Existing | Single Family Home | Triple Deckers | Multifamily Residential | Office | Fire Police | Convention / Assembly | Hotel | Med-Lab-Prod | Restaurant | Retail | School | Supermarket | Warehouse | Worship | Garage | Current Grid | 80% Clean Electricity Grid | 100% Clean Electricity Grid | Current Grid | 80% Clean Electricity Grid | 100% Clean Electricity Grid | Technical Implementation | Modeling Approach | Incremental Cost ($/sf) | Benefits | Challenges | Reference | Further Information
AB1 | Window Air-conditioning Unit Replacement | ü | ü | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -19.9185 | -4.6322 | 0 | -0.3753% | -0.1477% | 0% | Increased energy efficiency of COP/SEER Residential SEER: 21 Commercial SEER: 17 | Energy Plus Isolated Measure | 0.31 | + Easily implemented + Low cost and Incentives available | - Minimal energy and emissions reduction | US Dept of Energy | https://www.energy.gov/sites/prod/files/2016/07/f33/The%20Future%20of%20AC%20Report%20-%20Full%20Report_0.pdf
AB2 | Residential Kitchen Equipment | ü | ü | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -4.7299 | 1.0867 | 2.8493 | -0.08911% | 0.03464% | 0.1149% | Reduction in Equipment Power Density Refrigerators and freezers: reduce 15% | Energy Plus Isolated Measure | 0.03 | + Easily implemented + Low cost and Incentives available | - Minimal energy and emissions reduction | US Energy Information Agency | https://www.eia.gov/outlooks/aeo/pdf/AEO2018.pdf
AB3 | Commercial Kitchen Equipment | ü | ü |  | 0 | 0 | 0 | 0 | 0 | ü | 0 | ü | 0 | ü | ü | 0 | 0 |  | -1.3504 | -1.1888 | -1.1398 | -0.02544% | -0.0379% | -0.04598% | Reduction in Equipment Power Density Cooking equipment: reduce 5% | Energy Plus Isolated Measure | 0.045 | + Easily implemented + Low cost and Incentives available | - Minimal energy and emissions reduction | US Energy Information Agency | https://www.eia.gov/outlooks/aeo/pdf/AEO2018.pdf
AB4 | Office Electronics | ü | ü |  | 0 | 0 | ü | ü | ü | 0 | ü | 0 | 0 | 0 | 0 | 0 | 0 |  | -28.2513 | 0.68942 | 9.4593 | -0.5322% | 0.02198% | 0.3816% | Reduction in Equipment Power Density: reduce 20% | Energy Plus Isolated Measure | 0.11 | + Easily implemented + Low cost and Incentives available | - Minimal energy and emissions reduction | US Energy Information Agency | https://www.eia.gov/outlooks/aeo/pdf/AEO2018.pdf
AB5 | Cool Roof | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | 18.2946 | 22.1009 | 23.2543 | 0.3447% | 0.7046% | 0.9381% | Increase reflectivity of roof Single Family House: SRI 29 All other buildings: SRI 78 | Energy Plus Isolated Measure | 0.37 | + Easily implemented + Low cost | - Minimal energy and emissions reduction | US Green Building Council (USGBC) | https://www.usgbc.org/credits/reqss7o7
AB10p | Rooftop Solar Photovoltaics | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | -379.0996 | -89.462 | -1.693 | -7.142% | -2.852% | -0.0683% | Rooftop solar PV for clean electricity production on 15%, 20% and 25% roof area | Isolated Boston PV Watts simulation translated to production per sf and applied to baseline model | 12 | + On-site clean electricity production to offset grid electricity + Enhanced resilience + State and Federal Incentives available + Panel efficiency continues to increase Moderate ease to implement. Easy for new construction. Easy to challenging On existing buildings. | Significantly higher per watt cost compared to utility-scale solar on most projects | National Renewable Energy Laboratory PV Watts Calculator | https://pvwatts.nrel.gov/
AB11p | Energy Storage | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | 16.3568 | 3.2508 | -0.72077 | 0.3082% | 0.1036% | -0.02908% | Behind the meter energy storage for peak demand reduction Storage sized to reduce 15% of peak demand |  | 0.5 | + Offset GHG emissions at peak demand when generation is most carbon intensive + Incentives available + Enhanced resilience Moderate ease to implement | - Emerging technology - Reduction in energy not inherent
NB1p | Stretch Code | ü |  |  | 0 | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -43.1341 | -18.4796 | -11.0085 | -0.8126% | -0.5891% | -0.4441% | Reduction in energy use by 10% from ASHRAE 90.1-2013 (current energy code) | Energy Plus building model combined with 10% performance reduction. | 0.5052 | + Easily implemented + Flexibility in how to achieve + Low cost and incentives available | - Moderate energy and emissions reduction | ASHRAE 90.1-2013
NB2 | Passive House Standard | ü |  | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 24.6545 | 32.1256 | -0.9918% | -1.313% | -1.522% | Change building performance criteria per PHIUS standard; - Annual heating & cooling demand - Air infiltration rate - Building envelope U-value for roof, walls and windows | Energy Plus Performance Package | 1.424 | + Significant energy and emissions reduction + Very low utility bills and operational costs + Incentives available + Potential for market value premium for ownership + Resilience benefit of passive design + Improved thermal comfort and indoor air quality | - Potential for capital/initial cost premium - Not a common design or construction standard | Passive House Standard US (PHIUS) | http://passiv.de/downloads/03_building_criteria_en.pdf
NB3p | Net Zero Energy-ready | ü |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -528.9044 | -263.9744 | -183.6926 | -9.964% | -8.415% | -7.41% | Low Energy Use Intensity (kBtu/sf/year) for each building typology. 'Ready' because solar PV was not included. | Building Specific EUIs (kbtu/sf) Single family residential: 6.4 Triple decker: 6.4 Multifamily residential: 6.4 Office: 6.6 Fire/Police: 8.2 Convention/Assembly: 4.6 Hotel: 9.9 Medical/Lab/Production: 5.3 Parking Garage: 3.1 Restaurant: 23.1 Retail: 8.2 School: 11.9 Supermarket: 32.0 Warehouse: 3.1 Worship: 5.4 | 1.9864 | + Significant energy and emissions reduction + Very low utility bills and operational costs + Incentives available + Potential for market value premium for ownership + Resilience benefits + Flexibility in how to achieve | - Capital/initial cost premium - Not a common design or construction standard | Energy Star Portfolio Manager Target Finder | https://portfoliomanager.energystar.gov/pm/targetFinder?execution=e17s1
NB4 | Building electrification | ü |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -85.6527 | -145.9182 | -164.1805 | -1.614% | -4.652% | -6.623% | Typical natural gas uses use electric equipment instead. - Electric Boiler: 95% efficient - Air-source Heat Pump: COP 3.2 - Electric Process Loads: No efficiency from gas | Energy Plus isolated measure | 0.3085 | + Net Zero emissions ready if carbon-free electricity can be procured + Incentives available Moderate energy and potential for significant emissions reduction | - Limitations to current technologies available and not applicable for all building types and systems - Potential for utility cost increases per current utility costs | ASHRAE 90.1-2013
NB5p | Net Zero Emissions | ü |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | -481.188 | -240.8982 | -168.0831 | -9.065% | -7.68% | -6.781% | Ultra-low Energy Use Intensity (12 kBtu/sf/year) and solar PV included. | 12 kBtu/sf/year, with gas and electrical use proportionate to baseline building. | 0 | + Significant energy reduction and Zero carbon emissions + Very low utility bills and operational costs + Incentives available + Potential for market value premium for ownership + Resilience benefits + Flexibility in how to achieve |  | New Buildings Institute Report Climate Zone 5A specific | https://newbuildings.org/resource/2018-getting-zero-status-update/
NB6 | Lighting efficiency standard | ü |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -26.9976 | -3.2659 | 3.9255 | -0.5086% | -0.1041% | 0.1584% | Reduction in lighting power density based on all-LED lighting design. Reduce by 50-86% by 2050. | Energy Plus Isolated Measure | 0.11 | + Easily implemented + Low cost + Incentives available + Potential for enhanced lighting quality and circadian lighting design | - Minimal energy and emissions reduction | - CA Codes and Standards Enhancement Initiative - Dept of Energy Report on lighting efficiency by 2050 | http://title24stakeholders.com/wp-content/uploads/2017/09/2019-T24-CASE-Report_NR-Indoor-Light-Sources_Final_Sepember-2017.pdf https://www.energy.gov/sites/prod/files/2017/09/f37/ssl_suggested-research-topics_sep2017.pdf
NB7 | Building Envelope Performance standard | ü |  |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -40.9164 | -29.2353 | -25.6955 | -0.7709% | -0.932% | -1.037% | Increased insulation (U-value) for walls, windows, slab and roof and reduce air infiltration Non-residential: Roof: U-0.034, Wall: U-0.045, Slab: U-0.039 Window: U-0.36, SHGC 0.25, WWR40% Residential: Roof: U-0.023, Wall: U-0.051, Slab: U-0.037 Window: U-0.32, SHGC 0.25, WWR 20% | Energy Plus Isolated Measure | 0.6675 | + Easily implemented Some incentives available Moderate energy and emissions reduction | - Capital cost increase | ASHRAE 90.1-2013
NB11 | HVAC efficiency standard | ü |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -21.6523 | -16.4109 | -14.8226 | -0.4079% | -0.5232% | -0.598% | Increased energy efficiency of HVAC COP, fan and pumps. Motor efficiency: 95% Fan efficiency: 83% Pump efficiency: 90% COP: 4.0-5.0 | Energy Plus Isolated Measure | 0.197 | + Easily implemented + Incentives available Potential for capital cost increase | - Low energy and emissions reduction | Oak Ridge National Laboratory Technical Report
AB6p | District Energy | ü |  |  | 0 | ü | ü | 0 | ü | ü | ü | 0 | 0 | ü | 0 | 0 | 0 |  | -1.379 | 3.549 | 5.42 | -11.21% | -13.32% | -14.69% | Increase efficiency of thermal energy production Heating efficiency: 85% Cooling efficiency: COP 7 | Ad hoc simulation of district energy performance | 0.89 | + Increased efficiency in thermal energy production + Less Operations & Maintenance Potential for capital cost premium Moderate energy reduction |  | UNEP & ICLEI Report "District Energy in Cities" | http://wedocs.unep.org/bitstream/handle/20.500.11822/9317/-District_energy_in_cities_unlocking_the_potential_of_energy_efficiency_and_renewable_ene.pdf?sequence=2&isAllowed=y
AB7p | Large Development District Energy with Cogeneration Requirement | ü |  |  | 0 | ü | ü | 0 | ü | ü | ü | 0 | 0 | ü | 0 | 0 | 0 |  | -1.379 | 3.549 | 5.402 | #N/A | #N/A | #N/A | Increase efficiency of thermal energy production Heating efficiency: 85% Cooling efficiency: COP 7 Electricity generation sized to heating demand | Ad hoc simulation of district energy cogeneration performance | 0 | + Increased efficiency in thermal energy production + Less Operations & Maintenance Potential for capital cost premium Moderate energy reduction | - Emissions penalty currently and increases into future with natural gas based systems | US Environmental Protection Agency | https://www.epa.gov/chp/catalog-chp-technologies
EB3 | Passive House Retrofit |  | ü | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -938.4432 | -749.0528 | -691.6618 | -17.68% | -23.88% | -27.9% | Change building envelope to PHIUS standard performance; - Air infiltration rate - Building envelope U-value for roof, walls and windows | Energy Plus Performance Package | 6.16 | + Significant energy and emissions reduction + Low utility bills and operational costs + Incentives available + Potential for market value premium for ownership + Resilience benefit of passive design + Improved thermal comfort + Flexibility in how to achieve | - Potential for capital/initial cost premium - Not a common design or construction standard | Passive House Standard US (PHIUS) | http://passiv.de/downloads/03_building_criteria_en.pdf
EB4 | Lighting efficiency retrofit standard |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -240.4464 | -9.3606 | 60.6654 | -4.53% | -0.2984% | 2.447% | Reduction in lighting power density based on all-LED lighting design, to 0.5W/sf | Energy Plus Isolated Measure | 0.11 | + Easily implemented + Low cost + Incentives available + Potential for enhanced lighting quality and circadian lighting design | - Minimal energy and emissions reduction | ASHRAE 90.1-2013
EB6 | Increase insulation |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -450.2541 | -340.1997 | -306.8499 | -8.483% | -10.85% | -12.38% | Increase insulation of R-9 to roof and walls from existing | Energy Plus Isolated Measure | 4.46 | + Incentives available + Improved thermal comfort Moderate cost Moderate implementation Moderate energy and emissions reduction |  | Insulation (R-9) added to existing insulation assumption per building type and age range.
EB7 | Replace windows or glazing |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -189.3463 | -153.4009 | -142.5084 | -3.567% | -4.89% | -5.749% | Increase insulation (U-value) to 0.35 from existing. No change in solar heat gain coefficient | Energy Plus Isolated Measure | 1.15 | + Easily implemented in residential buildings + Improved thermal comfort Moderate cost | - Low energy and emissions reduction - Difficult to implement in most commercial buildings | ASHRAE 90.1-2013
EB8 | Air infiltration |  | ü | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -214.5122 | -169.0087 | -155.2197 | -4.041% | -5.388% | -6.262% | Reduce air infiltration rate by 30% from existing | Energy Plus Isolated Measure | 1.09 | + Incentives available + Improved thermal comfort + Lower utility costs Moderate implementation | - Low energy and emissions reduction | ASHRAE 90.1-2013 and National Institutes of Health | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3223001/
EB9p | Retrocommissioning (RCx) |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -266.5607 | -144.4861 | -107.4937 | -5.022% | -4.606% | -4.336% | RCx includes building control adjustments, e.g. setpoints, turndown and sequence of operations changes. Reduce energy use 8% by building typology | 8% reduction in building gas and electricity use | 1.35 | + Easily implemented + Reduce operations and maintenance + Lower utility costs + Low cost | - Low energy and emissions reduction | US Dept of Energy Advanced Energy Retrofit Guides | https://www.energy.gov/eere/buildings/advanced-energy-retrofit-guides
EB10p | Standard Retrofits |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -993.1609 | -538.331 | -400.5038 | -18.71% | -17.16% | -16.16% | Replacement of HVAC equipment with more efficient equipment. Savings per design guide (approximately 30% energy savings) | 30% reduction in building gas and electricity use | 3.17 |  |  | US Dept of Energy Advanced Energy Retrofit Guides | https://www.energy.gov/eere/buildings/advanced-energy-retrofit-guides
EB11p | Deep Energy Retrofits |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -1653.7065 | -896.3719 | -666.8765 | -31.16% | -28.58% | -26.9% | Whole building renovation including Upgrade to building envelope and replacement of HVAC equipment . Savings per design guide (approximately 50% energy savings) | 50% reduction in building gas and electricity use | 5.83 | + Significant energy and emissions reduction + Low utility bills and operational costs + Incentives available + Potential for market value premium for ownership + Improved thermal comfort + Flexibility in how to achieve | - Potential for capital/initial cost premium | US Dept of Energy Advanced Energy Retrofit Guides | https://www.energy.gov/eere/buildings/advanced-energy-retrofit-guides
EB12p | Demand Response |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -3.4345 | -1.5237 | -0.94464 | -0.0647% | -0.04857% | -0.03811% | Reduce peak consumption by 12% during peak events, defined as 2pm-6pm on the 5 hottest weekdays of the year. Time of use grid emissions are not included in the analysis. | Shifting of peak loads in hourly load profile | 0.5 | + Reduces demand on electric grid at peak time when grid is most carbon intensive + Reduce + Reduction in demand charges ($ savings) | - No energy savings - Minimal emissions reduction | National Grid & US EPA | https://www.epa.gov/sites/production/files/2015-08/documents/ee_and_dr.pdf https://www.nationalgridus.com/MA-Business/Energy-Saving-Programs/ConnectedSolutions
EB13 | Building electrification (electric boilers) |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -950.794 | -1625.1268 | -1829.4701 | -17.91% | -51.81% | -73.8% | All buildings Natural gas boiler to Electric boiler, efficiency 95% Gas process load to Electric process load (1:1) Single Family + Small Multifamily Packaged units, furnace to Air-source heat pump, COP=3.2 | Energy Plus Isolated Measure | 0.52 | + Significant emissions reduction + Incentives available for Heat Pumps Moderate ease of implementation Moderate energy savings | - Utility cost increase currently for electric boilers | ASHRAE 90.1-2013 performance criteria
EB18 | Programmable Thermostats |  | ü | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -0.18741 | -0.33034 | -0.37365 | -0.003531% | -0.01053% | -0.01507% | Install or replace thermostats. Implement setbacks for heating and cooling set points by 5 degrees F. Modeled 0.1% increase in heating efficiency | Energy Plus Isolated Measure | 0.1 | + Easily implemented + Incentives provide these free with Home Energy Assessment Minimal energy and emissions reduction |  | Standard criteria
EB19 | Fuel Switching |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -289.4731 | -263.446 | -255.5589 | -5.454% | -8.399% | -10.31% | Replace fuel oil boilers with natural gas boilers at 92% efficiency. Single family and Small Multifamily residential convert to Heat Pumps, COP 3.2. 0 | Switch source fuel | 0.52 | + Easily implemented + Incentives available + Reduce/eliminate CO risk + Increased reliability Moderate energy and emissions reduction |  | ASHRAE 90.1-2013
EB21p | Deep Energy Retrofits + Primary Thermal Electrification |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -1898.8553 | -1346.1937 | -1178.7205 | -35.77% | -42.92% | -47.55% | Whole building renovation including Upgrade to building envelope and replacement of HVAC equipment . Savings per design guide (approximately 50% energy savings) Natural gas boiler to Electric boiler, efficiency 95% Gas process load to Electric process load (1:1) Single Family + Small Multifamily Packaged units, furnace to Air-source heat pump, COP=3.2 | Energy Plus Performance Package with Primary Thermal Electrification | 6.35
EB23p | Passive House Retrofits + Primary Thermal Electrification |  | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -779.0244 | -828.4466 | -843.423 | -14.68% | -26.41% | -34.02% | Change building envelope to PHIUS standard performance; - Air infiltration rate - Building envelope U-value for roof, walls and windows Natural gas boiler to Electric boiler, efficiency 95% Gas process load to Electric process load (1:1) Single Family + Small Multifamily Packaged units, furnace to Air-source heat pump, COP=3.2 | Energy Plus Performance Package with Primary Thermal Electrification | 6.68
EB31p | Deep Energy Retrofits + Comprehensive Electrification |  | ü |  | 0 | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | -1850.7164 | -1403.1596 | -1267.5364 | -34.87% | -44.73% | -51.13% | Whole building renovation including Upgrade to building envelope and replacement of HVAC equipment . Savings per design guide (approximately 50% energy savings) Natural gas boiler to Electric boiler, efficiency 95% Gas process load to Electric process load (1:1) Single Family + Small Multifamily Packaged units, furnace to Air-source heat pump, COP=3.2 | Energy Plus Performance Package with Primary Thermal Electrification; reassignment of additional gas demand to electricity | 6.87
EB33p | Passive House Retrofits + Comprehensive Electrification |  | ü | ü | ü | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -752.5318 | -890.2415 | -931.9717 | -14.18% | -28.38% | -37.6% | Change building envelope to PHIUS standard performance; - Air infiltration rate - Building envelope U-value for roof, walls and windows Natural gas boiler to Electric boiler, efficiency 95% Gas process load to Electric process load (1:1) Single Family + Small Multifamily Packaged units, furnace to Air-source heat pump, COP=3.2 | Energy Plus Performance Package with Primary Thermal Electrification; reassignment of additional gas demand to electricity | 7.2
Note on Z29: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to confirm that gas process load was not done
Note on Z32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to confirm that gas process load was not done
Note on Z34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to confirm that gas process load was not done

## Illustrative Policy Mechanisms
|  |  | Implementation Year | [14 empty] | 2050 GHG Impact - Technical Potential (kt CO2e) |  |  | Annual GHG Impact - Technical Potential (% Change from Baseline)
Policy | Description | Applicable Vintages | Single Family Home | Triple Deckers | Multifamily Residential | Office | Fire Police | Convention / Assembly | Hotel | Med-Lab-Prod | Restaurant | Retail | School | Supermarket | Warehouse | Worship | Garage | Current Grid | 80% Clean Electricity Grid | 100% Clean Electricity Grid | Current Grid | 80% Clean Electricity Grid | 100% Clean Electricity Grid | Type | Jurisdiction | Equity Implications | Timeline Considerations | Model Reference
Deep Emissions Retrofit at Major Renovation | 50% reduction in energy use with electrification. Impacts 3% buildings per year. | Existing | 2030 | 2030 | 2030 | 2030 | 2025 | 2030 | 2030 | 2035 | 2030 | 2030 | 2025 | 2030 | 2030 | 2030 | 2030 | -961.837 | -537.9685 | -409.5235 | -18.12% | -17.15% | -16.52% | Performance Requirement | Boston Zoning or State Code | Very low utility bills and operational costs Improved indoor air quality No fossil-fuels onsite eliminates carbon monoxide risk | Deep emissions retrofits achieve the significant energy savings of deep energy retrofits but go a step further to also be designed to use non-fossil fuel based energy. This is currently more challenging for most building types but results in higher impact of emissions reductions (25% more reduction). These buildings are Net Zero-emissions ready, meaning if the electricity they consume is clean, then they achieve zero emissions. | EB11p 2030 Deep Energy Retrofit
Deep Energy Retrofit at Major Renovation | 50% reduction in energy use Impacts 3% buildings per year. | Existing | 2030 | 2030 | 2030 | 2030 | 2025 | 2030 | 2030 | 2035 | 2030 | 2030 | 2025 | 2030 | 2030 | 2030 | 2030 | -961.837 | -537.9685 | -409.5235 | -18.12% | -17.15% | -16.52% | Performance Requirement | Boston Zoning or State Code | Very low utility bills and operational costs Improved indoor air quality | This policy would require significant energy savings (> 50%) be realized when an existing building undergoes a major renovation. The level of intervention included improvement in the building envelope and replacement of lighting and HVAC systems. The policy is tiered similar to the Net Zero Energy policy for new construction to reflect the challenges in achieving the level of performance with current technology and that these will diminish over time. The policy is also performance based and therefore allows for flexibility in how it is achieved for a particular building. The emissions impact of the policy is limited since it was assumed that only 3% of buildings annually undergo a major renovation and the timeline phases in over a long period of time. Increasing the timeline would increase the impact and effectiveness of the policy. | EB11p 2030 Deep Energy Retrofit
Energy Storage | Ability for peak demand reduction (12% peak savings) | All | 2025 | 2025 | 2025 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | -27.2246 | -24.7908 | -24.0533 | -0.5129% | -0.7903% | -0.9703% | Prescriptive Incentive | State or Mass CEC | Capital/initial cost to install system Electricity cost savings Potential for resilience benefit | Energy Storage is technology that is in its infancy and is expected to advance rapidly in the next 5-10 years. This technology most importantly helps to reduce peak energy demand on the grid by providing on-site, local energy that can be dispatched during peak events. As more and more buildings rely on electricity for heating energy, peak events will occur more often and energy storage systems will become more important. The current incentive structure is good to prove the technology, but as an incentive will continue to have very low market penetration. The impact of this policy would likely be greater when energy storage systems are properly sized for specific building loads. The same approach was used in this analysis. | AB11p 2025 Storage Incentive
Energy Storage | Ability for peak demand reduction (12% peak savings) | All | 2040 | 2040 | 2040 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | -34.0946 | -35.2488 | -35.5986 | -0.6423% | -1.124% | -1.436% | Prescriptive Requirement | State Code | Capital/initial cost to install system Electricity cost savings Potential for resilience benefit | This policy explored energy storage systems as a requirement in new construction at a later timeline, assuming the technology becomes mature in 15-20 years to continue to support electrification of heating energy and help manage peak demand on the electricity grid. | AB11p 2025 Storage Prescriptive
Enhanced Stretch Code | Additional 10% energy savings on Baseline energy code | New | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -37.6331 | -26.1734 | -22.7008 | -0.709% | -0.8344% | -0.9158% | Performance Requirement | State | Energy cost savings and lower utility bills | The analysis has shown that current incremental improvements in energy code do not have the level of impact needed for new construction to offset the impacts of growth. | NB1 2025 Stretch Code Prescriptive
BERDO Lower Reporting Threshold | Decrease reporting threshold to 20,000 SF or 20 units with baseline energy action efficiency requirement | Existing |  |  | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -734.3479 | -518.4289 | -452.9989 | -13.83% | -16.53% | -18.27% | Prescriptive Requirement | APCC | Enhanced transparency on building energy, GHG emissions and water performance Reduction in utility bills | Lowering reporting threshold is enabling policy to make more buildings applicable to ongoing energy/emissions reductions Lower reporting threshold adds manageable number of buildings Capacity to implement and enforce on City of Boston required Additional education and knowledge of reporting required These buildings are not too dissimilar from those at 35,000 SF
BERDO Lower Reporting Threshold | Decrease reporting threshold to all buildings with baseline energy action efficiency requirement | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -1908.5982 | -1483.9661 | -1355.2898 | -35.96% | -47.31% | -54.67% | Prescriptive Requirement | APCC | Enhanced transparency on building energy, GHG emissions and water performance Reduction in utility bills | Including all buildings adds additional 76,000 buildings Capacity to implement and enforce on City of Boston too many buildings Too much education and knowledge of reporting required Different policy needed for small buildings
BERDO Energy Action Enhancement | Define energy action to require 5% efficiency every 5 years in current buildings Commercial >35,000 SF Residential > 35 units | Existing |  |  | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | -653.3892 | -352.5907 | -261.4397 | -12.31% | -11.24% | -10.55% | Performance Requirement | APCC | Reduction in utility bills | Energy action requires ongoing reduction at 1% per year on average. Small incremental efficiency requirements can be implemented currently to start to move the most important segment of the City's emissions profile
Net Zero Emissions | Defined by a low EUI without fossil-fuels and solar PV | New | 2030 | 2030 | 2030 | 2030 | 2025 | 2030 | 2030 | 2035 | 2030 | 2030 | 2025 | 2030 | 2030 | 2030 | 2030 | -125.1776 | -77.5768 | -63.1523 | -2.358% | -2.473% | -2.548% | Performance Requirement | Boston Zoning or State Code | Very low utility bills and operational costs, electricity only No fossil-fuels onsite eliminates carbon monoxide risk Potential for market value premium for ownership Potential for capital/initial cost premium | Net Zero Emissions buildings achieve the low energy consumption of Net Zero Energy buildings but go a step further to also be designed to use non-fossil fuel based energy. This is currently more challenging than Net Zero Energy but would eliminate the impact of growth on the City's GHG emissions profile and demonstrates the highest emissions savings. These buildings are Net Zero-emissions ready, meaning if the electricity they consume is clean, then they achieve zero emissions.
Net Zero Energy | Defined by a low EUI without the solar PV | New | 2030 | 2030 | 2030 | 2030 | 2025 | 2030 | 2030 | 2035 | 2030 | 2030 | 2025 | 2030 | 2030 | 2030 | 2030 | -129.4233 | -72.4466 | -55.181 | -2.438% | -2.31% | -2.226% | Performance Requirement | Boston Zoning or State Code | Very low utility bills and operational costs, electricity + natural gas Potential for market value premium for ownership Potential for capital/initial cost premium | Net Zero Energy buildings remain challenging to achieve in dense urban areas like Boston as the available area for energy generation is not proportional to the area of energy demand. This policy was modeled as Net Zero-ready which means no energy generation was included. This performance standard can be achieved in some building types, e.g. K-12 schools, but typically comes with a cost premium and remains challenging for most building types. The proposed timelines for policy implementation phase in buildings over a decade to allow for advances in technology with the City leading the way with its own portfolio first and the most challenging buildings such as hospitals, labs and manufacturing last. This policy when fully implemented would minimize to eliminate the impact of growth on the City's GHG emissions profile.
Fuel Switching | Fuel switch from fuel oil to natural gas all buildings except Single family and Small Multifamily residential switch to electric heat pump systems. | Existing | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | -556.5707 | -781.9394 | -850.2329 | -10.49% | -24.93% | -34.3% | Prescriptive Requirement | Renew Boston APCC State Code | Reduction in utility bills Potential for no fossil-fuels onsite to eliminate carbon monoxide risk | Fuel switching from oil to natural gas is a known strategy that has been successfully implemented over the past decade (+) across all building types. | EB19 2030 Fuel Switching Mandate
HVAC Electrification Incentive | Improved energy efficiency and electrification of HVAC equipment per building type | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -43.5896 | -51.8733 | -54.3834 | -0.8212% | -1.654% | -2.194% | Prescriptive Incentive | Renew Boston | Reduction in utility bills Improved thermal comfort No fossil-fuels onsite eliminates carbon monoxide risk | This policy exists currently for heat pumps systems. Additional technologies will be needed to transition all buildings away from fossil fuels. | NB4 2030 HVAC Electrification Prescriptive
HVAC Incentive | Improved energy efficiency in HVAC equipment per building type | New | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | -28.7812 | -23.9422 | -22.4758 | -0.5422% | -0.7633% | -0.9067% | Prescriptive Incentive | Renew Boston | Reduction in utility bills | This policy exists currently and incentivizes Owners to install more energy efficient equipment as part of initial construction. | NB11 2030 HVAC Standard Prescriptive
HVAC Retrofit Incentive | Improved energy efficiency in HVAC equipment per building type | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -907.4154 | -1584.7885 | -1790.0531 | -17.1% | -50.52% | -72.21% | Prescriptive Incentive | Renew Boston | Reduction in utility bills Improved thermal comfort | This policy exists currently and incentivizes Owners to install more energy efficient equipment as part of initial construction. It is easily implemented and typically cost effective. | EB13 2025 HVAC Replacement
Window Incentive | Improved insulation (U-value) and solar heat gain coefficient | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -46.151 | -42.0387 | -40.7925 | -0.8695% | -1.34% | -1.646% | Prescriptive Incentive | Renew Boston | Reduction in utility bills Improved thermal comfort | Current incentives do not include window replacements. For residential buildings, these can be easily implemented, are cost effective, and improves thermal comfort. It is more challenging to implement in commercial buildings that utilize curtain wall or window wall systems and are highly disruptive to occupied buildings. The policy is limited in terms of its impact to reduce emissions, but is recommended for residential buildings where the highest impact was shown. | EB7 2025 Window Replacement Incentive
Insulation Incentive | Improved insulation (U-value) of walls | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -51.1742 | -45.0912 | -43.2478 | -0.9641% | -1.437% | -1.745% | Prescriptive Incentive | Renew Boston | Reduction in utility bills Improved thermal comfort | This policy is currently in effect but has only been limited in its implementation. A well-insulted building envelope is the foundation of passive design and lowers the energy demand of a building. It has moderate ease of implementation, is cost effective and improves thermal comfort. It is more challenging to implement in older masonry buildings, that are characteristic of Boston. The policy is limited in terms of its impact to reduce emissions. | EB8 2025 Sealing Envelope Incentive
Envelope Incentive | Increased insulation (U-value) for walls, roof and windows | New | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | 2018 | -88.4113 | -72.5755 | -67.7767 | -1.666% | -2.314% | -2.734% | Prescriptive Incentive | Renew Boston | Reduction in utility bills | This policy has considerably higher impact than lighting or HVAC. A well-insulted building envelope is the foundation of passive design and lowers the energy demand of a building. It is also more challenging to retrofit the building envelope at a later date compared to HVAC equipment which has a shorter lifespan. As such it is more important to invest in a higher performing envelope as part of initial construction. | EB6 2025 Weatherization Incentive
District Energy Systems (New) | New construction is on a new district energy system. Both Thermal energy only and Cogeneration district systems were modeled 5 Future developments 17.8M total square feet | New |  |  | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 | Now-2040 |  | -1.379 | 3.549 | 5.42 | -0.02598% | 0.1131% | 0.2186% | Prescriptive Requirement | Boston Zoning | Potential for energy cost savings No fossil-fuels onsite eliminates carbon monoxide risk Thermal energy is generated offsite. Less maintenance and operational costs. | District energy systems with and without cogeneration that rely on natural gas boilers will be an energy and emissions penalty in the near future. Non-fossil fuel based energy sources will be required to operate these systems in the future.
Passive House Standard | Per standard criteria for building envelope, infiltration and energy performance | New | 2020 | 2020 | 2020 | [12 empty] | -40.7268 | -33.5104 | -31.3236 | -0.7673% | -1.068% | -1.264% | Performance Requirement | Boston Zoning or State Code | Very low utility bills and operational costs Potential for market value premium for ownership Resilience benefit of passive design Improved thermal comfort and indoor air quality Potential for capital/initial cost premium | This is a known performance standard that results in very low energy use and can be all-electric using current technology and knowledge. This could be implemented very quickly for residential buildings while Net Zero Energy or Emissions performance becomes less challenging. | NB2 2025 Passive House Prescriptive
Passive House Retrofit | Per standard criteria for building envelope, infiltration and energy performance | Existing | 2030 | 2030 | 2030 | [12 empty] | -181.4631 | -149.7954 | -140.1992 | -3.419% | -4.775% | -5.656% | Performance Incentive | Boston Zoning or State Code | Very low utility bills and operational costs Potential for market value premium for ownership Resilience benefit of passive design Improved thermal comfort and indoor air quality Potential for capital/initial cost premium | This policy would provide incentives to residential owners to go further in their building renovation to the highest building envelope performance standard. Passive House is a known performance standard that results in very low energy use and can be all-electric using current technology and knowledge. It can be more challenging to retrofit Existing Buildings than new construction but is possible. This standard is also easier to achieve than Net Zero Energy or Emissions performance. Its overall impact is limited as it was defined as an incentive rather than a requirement. This would have resulted in much high emissions reductions. | EB2 2030 Passive House Incentive
Lighting Retrofit Incentive | Reduction lighting power density per LED lighting | Existing | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | 2020 | -54.4651 | -17.1253 | -5.8102 | -1.026% | -0.546% | -0.2344% | Prescriptive Incentive | Renew Boston | Reduction in utility bills | This policy is currently in effect and has been highly successful and many buildings have already retrofitted lighting. It is easily implemented and very cost effective. It can include replacing light bulbs/lamps or full light fixture replacements. However, it is limited in terms of its impact as lighting energy is not a significant portion of a building's energy demand. | EB3 2025 Lighting Retrofit Incentive
Solar PV Required | Require solar PV to be installed on at least 25% of roof area. | All | 2030 | 2030 | 2035 | 2035 | 2025 | 2035 | 2035 | 2035 | 2035 | 2035 | 2035 | 2025 | 2035 | 2035 | 2035 | -255.8438 | -86.9829 | -35.8129 | -4.82% | -2.773% | -1.445% | Prescriptive Requirement | State Code | Capital/initial cost to install system Electricity cost savings On-site generation has potential for resilience benefit | This policy explored Solar PV systems as a requirement for existing buildings starting in 2025. This assumes the technology becomes fully mature in the near future to help offset a portion of a building's energy demand with clean energy on-site. The implementation is tiered to have the City lead with its own building portfolio and then aligned with ease of implementation for all other buildings. The impact of this policy would likely be greater when rooftop Solar PV systems are properly sized for a building. | AB10p 2025 25 Percent Solar Prescriptive
Low/No cost energy conservation measures | Retrocommissioning savings defined per ASHARE advanced energy design guidelines | Existing | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | 2025 | -90.3505 | -58.4295 | -48.7565 | -1.702% | -1.863% | -1.967% | Prescriptive Incentive | Renew Boston | Reduction in utility bills Improved thermal comfort | This policy for retrocommissioning aligns with current BERDO energy action assessment as a compliance path but goes one step further to require the low/no cost measures to be implemented. This is low cost, easily implemented and can be implemented immediately as this is a proven and known process. Its overall impact is low as it is defined as an incentive rather than requirement, which would increase its impact. | EB16p 2025 Cost Effective Retrofits
BERDO Raise bottom quartile | The bottom quartile of buildings in BERDO raise their performance out of quartile. This repeats every 10 years. Commercial >35,000 SF Residential > 35 units | Existing |  |  | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | 2030 | -2916.1787 | -1797.9822 | -1459.1348 | -54.94% | -57.32% | -58.86% | Prescriptive Requirement | APCC | Enhanced transparency on building energy, GHG emissions and water performance Reduction in utility bills | This policy would require the lowest performing buildings under the current BERDO to increase their performance (i.e. reduce energy and GHG emissions) out of the bottom quartile within 10 years. This policy does not further expand the buildings covered in BERDO, only addresses the lowest performers, and only is implemented in 10 year increments which means it would only have 2-3 cycles. A such, its impact to reduce GHG emissions is low as the analysis has shown that all buildings need to contribute to the goal, not just a segment of the building stock. Differentiation in current performance may still be a valid policy approach for future requirements. | EB20 2025 BERDO 5% Improvement Mandate Exp BERDO ALL

## Strategies_Table (hidden)
|  |  | IMPACT |  | BUILDING TYPES | COST | CO-BENEFITS | EQUITY | Single Family Residential | Triple Decker | Multifamily Residential | Office | Fire/Police | Convention/Assembly | Hotel | Medical/Lab/Production | Restaurant | Retail | School | Supermarket | Warehouse | Worship | Garage
|  |  | energy | emissions
1 | Increased efficiency of equipment & systems (Window AC units, Kitchen equipment, Office electronics, Vending machines and Refrigeration Cases) | Reduction in power density (W/SF) |  |  | ALL
2 | Cool Roofs | Reflectivity of roof |  |  | ALL | $
3 | District Energy (thermal only)
4 | District Energy (Cogeneration)
5 | Stretch Energy Code | ASHRAE 90.1-2013 with 10% efficiency |  |  | ALL | $ |  |  | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
6 | Passive House Standard Residential | Performance per Passive House US Standards |  |  | Single Family, Small Multifamily & Large Multifamily Residential |  | Improved thermal comfort Improved indoor air quality | Reduced utility bills Reduced maintenance/replacement costs
7 | Passive House Standard Residential | [7 empty] | ü | ü | ü
8 | Passive House Standard Residential | [7 empty] | ü | ü | ü
9 | Lighting Power Density Reduction | [7 empty] | ü | ü | ü
10 | HVAC Equipment Efficiency | [13 empty] | ü |  | ü |  |  | ü
11 | Lighting Power Density Reduction | [10 empty] | ü | ü | ü |  | ü |  |  | ü
12 | Lighting Power Density Reduction | [13 empty] | ü | ü | ü |  |  | ü
13 | [14 empty] | ü |  | ü |  |  | ü
14
15 | [8 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
16
17 | [10 empty] | ü | ü |  | ü | ü | ü |  |  | ü
18
19
20 | [11 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü |  | **maybe will vary by use based on tech deployment?
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[12 empty] | ü |  | ü | ü | ü |  |  | ü |  | ü | ü
[12 empty] | ü |  | ü | ü | ü |  |  | ü |  | ü | ü
[12 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[12 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü
[13 empty] | ü |  |  |  | ü | ü |  | ü
[12 empty] | ü |  |  |  | ü
[12 empty] | ü |  |  |  | ü
[12 empty] | ü | [5 empty] | ü | ü | ü
[11 empty] | ü | ü |  | ü | ü |  |  |  | ü | ü
[9 empty] | ü | ü | ü
[9 empty] | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü | ü
Note on K53: Erica Levine: RH to confirm
Note on L53: Erica Levine: RH to confirm
Note on M53: Erica Levine: RH to confirm
Note on K54: Erica Levine: RH to confirm
Note on L54: Erica Levine: RH to confirm
Note on M54: Erica Levine: RH to confirm